## Cover
Exploration & Production
DATA SHEET
ELECTRICAL
DS EP ELE 141
POWER TRANSFORMER
| 5 | 01/2012 |  | General review
| Revision | Date |  | Notes
Owner: EP/DEV/TEC |  |  | Managing entity: EP/DEV/TEC/ELE

## General
Exploration & Production |  |  | COMPANY
|  |  | PROJECT NAME | [21 empty] | Outdoor
|  |  | DATA SHEET | [21 empty] | Indoor
POWER TRANSFORMER
[16 empty] | DSEPELE141-rev5 | [8 empty] | C5-M
Project Doc. number: |  |  |  |  | Contractor Doc N°: | [15 empty] | Page | 1 | / | 6 | C5-I
Valid for : | [11 empty] | Revision |  |  |  |  | Date | [7 empty] | C4-I
Revision |  | Reason for issue |  |  | Date |  |  |  | By: |  |  | Checked by: |  |  |  |  | Approved by: | [7 empty] | C3
C2
C1
No
Solar
1 | rev | GENERAL DATA | [22 empty] | Flare
2 |  | Tag number |  |  |  |  | Quantity: | [17 empty] | Zone 2
Safe Area
3 |  | Site |  |  |  |  | Location
On-shore
4 |  | Material Requisition No: |  |  |  |  | Project Specifications: | [17 empty] | Off-shore
5 |  | Supplier Refn° : |  |  |  |  | Manufacturer Ref n°: | [17 empty] | IIA
IIB
6 |  | ENVIRONMENTAL CONDITIONS
T1
7 |  | Installation : |  |  |  |  | Environment class of corrosion | [17 empty] | T2
T3
8 |  | Altitude (if>1000m) |  |  | m |  | Hazardous area classification: | [17 empty] | T4
T5
9 |  | Min. Ambient temperature: |  |  | °C |  | Explosion group | [8 empty] | Temperature Class | [8 empty] | T6
10 |  | Max. Ambient temperature: |  |  | °C |  | Relative Humidity @Max operating temperature: | [15 empty] | % |  | 1
2
11 |  | Yearly average ambient temperature |  |  | °C |  | Relative Humidity @Min operating temperature: | [15 empty] | % |  | 3
4
12 |  | Monthlly average ambient temperature |  |  | °C |  | Exposed to Radiations: | [15 empty] | W/m²
Step-up
13 |  | POWER SUPPLY SYSTEM | [22 empty] | Step-down
14 |  | Network rated Voltage : |  | kV |  |  | Network rated Frequency | [11 empty] | Hz | [5 empty] | Oil immersed- breathing
Oil immersed- Hermeticalyy sealed- Fully filled
15 |  | Network Neutral system |  |  |  |  | Earth fault current limitation: | [12 empty] | A |  |  |  | s
Dry type
16 |  | Network 3 Phases Max. Fault Level: |  |  | kA |  | DC available Auxiliary Voltages: | [11 empty] | V ± |  |  |  |  | %
[19 empty] | V ± |  |  |  |  | %
17 |  | AC available Auxiliary Voltages: |  | V ± |  | % | [18 empty] | Vegetal oil
|  |  |  | V ± |  | % | [18 empty] | synthetic ester
18 |  | PARTICULAR OPERATING CONDITIONS
Fresh water
19 |  | Parallel operation |  |  |  |  | Rated power of largest DOL starting motor | [8 empty] | kW |  |  | SC/FLD | [5 empty] | Sea water
20 |  | Total Harmonic distorsion THD |  |  | % |  | Ih | H5 |  | % | H7 |  | % |  | H11 |  |  | % |  | H13 |  |  |  | % | ITSN
ITAN
21 |  | Cooling water network (for _FWF transformers) |  |  |  |  | Max water inlet temperature |  |  |  |  | °C |  | Operating pressure | [8 empty] | b |  | TT
TNS
22 | [24 empty] | TNC
23 | [24 empty] | Yes
No
24
25
26
27
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on K5: Equipment designation
Note on AF9: Date of data sheet issue.
Note on AM9: Name of data sheet Author.
Note on E18: Field or plant name
Note on AI18: Name of Platform, unit,, FPSO, etc...
Note on AI26: As per ISO 12944-2-ref GS EP ELE 141-§ 7
Note on AV36: nature: Solar or flare radiations
Note on BE36: Intensity of radiation
Note on AI42: for IT systems, Current limitation and clearance time
Note on AI52: Harmonic currents rank H5 to H13

## Description1
Exploration & Production |  |  | COMPANY
|  |  | PROJECT NAME | [15 empty] | Outdoor | ONAN | +/- 2,5% ; +/- 5%
|  |  | DATA SHEET | [15 empty] | Indoor | ONAF
|  |  | POWER TRANSFORMER | [16 empty] | ONAN/ONAF
[12 empty] | DSEPELE141-rev5 | [6 empty] | C5-M | KNAN | Primary side
Project Doc. number: | [6 empty] | Contractor Doc N°: | [7 empty] | Page | 2 | / | 6 | C5-I | KNAF | Pecondary side
Valid for : | [9 empty] | Revision |  |  |  | Date |  |  |  |  | C4-I | KNAN/KNAF
Supplier | [7 empty] | Manufacturer: |  |  |  |  | Ref: | [5 empty] | C3 | OFAF | Off load manual
1 | rev | Item |  | Required |  |  |  |  | Proposal |  | Comment | [7 empty] | C2 | OFWF | On Load (OLTC)
2 |  | TECHNICAL CHARACTERISTICS | [16 empty] | C1 | KFWF
3 |  | Rated Power |  |  |  | kVA |  |  |  | kVA | [9 empty] | ODAF | Dy 11
4 |  | Rated Power secondary windings (if >2windings) |  |  |  | kVA |  |  |  | kVA | [8 empty] | Solar | KDAF | Yd 11
5 |  | Vector Group | [16 empty] | Flare | AF | Yz 11
6 |  | Voltage Impedance |  |  |  |  | % |  |  | % | [9 empty] | AN | Dd0
7 |  | Transformer type | [16 empty] | Zone 2 |  | Yy0
8 |  | Dielectric fluid | [16 empty] | Safe Area | YES | Dz0
9 |  | Cooling | [17 empty] | NO | Dy 1
10 |  | Electrostatic screen | [16 empty] | On-shore |  | Yd 1
11 |  | Dry type insulation |  | Primary |  |  |  |  | Primary | [9 empty] | Off-shore | Encapsulated | Yz1
12 |  |  |  | Secondary |  |  |  |  | Secondary | [10 empty] | Impregnated | Dd 6
13 |  | Windings | [6 empty] | Primary | [9 empty] | I |  | Yy 6
14 | [8 empty] | Secondary | [9 empty] | IIA | Copper | Dz 6
15 |  | PRIMARY SIDE CHARACTERISTICS | [16 empty] | IIB | Aluminium | Dd 10
16 |  | Rated Voltage |  |  |  |  | kV |  |  | kV | [10 empty] | Yy 10
17 |  | Neutral point brought out | [16 empty] | T1 | Porcelain bushing | Dz 10
18 |  | Power connection type | [16 empty] | T2 | Plug-in Connector | By manufacturer
19 |  | Surge arresters on Primary side terminals | [16 empty] | T3 | Throughway bushing inside IP55 box
20 |  | SECONDARY SIDE CHARACTERISTICS | [16 empty] | T4 |  | Oil immersed- breathing
21 |  | Rated Voltage |  |  |  |  | kV |  |  | kV | [8 empty] | T5 |  | Oil immersed- Hermetically sealed- Fully filled
22 |  | Neutral earthing system | [16 empty] | T6 | ITSN | Dry type
23 |  | Fault current limitation |  |  | A / |  | s | [12 empty] | ITAN
24 |  | Neutral point brought out | [16 empty] | 1 | TT
25 |  | Surge arresters on secondary side neutral in terminal box | [16 empty] | 2 | TNS | Included
26 |  | TAP CHANGER | [16 empty] | 3 | TNC | Not included
27 |  | Tap changer type | [16 empty] | 4
28 |  | Tapped winding | [17 empty] | Mineral oil
29 |  | Number of Taps/Tapping range | [16 empty] | Step-up | Vegetal oil
30 |  | OLTC model | [8 empty] | documentation to be provided | [7 empty] | Step-down | synthetic ester
31 |  | OLTC Control relay | [8 empty] | documentation to be provided
32 |  | OLTC protective relay | [8 empty] | documentation to be provided
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on T13: particular requirement (e;g: VSD)- to be filled by manufacturer
Note on AI13: particular requirement (e;g: VSD)- to be filled by manufacturer
Note on T14: as per IEC 60076 unless otherwise specified.
Note on T15: Gas cushion transformer not allowed
Note on AI16: Dielectric characteristics to be supplied with proposal
Note on T24: at no load
Note on T29: At full load - PF=0,8
Note on AI38: give manufacturer and model
Note on AI40: give manufacturer and model

## Description2
Exploration & Production |  |  | COMPANY
|  |  | PROJECT NAME | [15 empty] | +/- 2,5% ; +/- 5% | N.A
|  |  | DATA SHEET | [16 empty] | YES
|  |  | POWER TRANSFORMER | [16 empty] | NO
[12 empty] | DSEPELE141-rev5 | [6 empty] | Primary side
Project Doc. number: | [6 empty] | Contractor Doc N°: | [7 empty] | Page | 3 | / | 6 | Pecondary side | N.A
Valid for : | [9 empty] | Revision |  |  |  | Date | [5 empty] | Included
Supplier | [7 empty] | Manufacturer: |  |  |  |  | Ref: | [5 empty] | Off-load tap changer | Not Included
1 | rev | Item |  | Required |  |  |  |  | Proposal |  | Comment | [7 empty] | On load tap changer
2 |  | TANK - RADIATORS - CONSERVATOR | [17 empty] | N.A
3 |  | Tank type | [16 empty] | Primary | YES, With rubberbag
4 |  | Tank external coating | [16 empty] | Secondary | NO
5 |  | Tank internal coating
6 |  | Radiators coating | [16 empty] | +/- 2,5% ; +/- 5% | N.A
7 |  | Radiators isolated by valves | [17 empty] | Hot dip galvanised
8 |  | Drain and sampling valve with connector | [17 empty] | Zinc-silicate coating
9 |  | Conservator | [16 empty] | Corrugated tank without radiators | 316L Stainless steel + paint
10 |  | Dielectric level detector | [16 empty] | Corrugated tank with radiators
11 |  | Air dryer | [16 empty] | Smooth tank with radiators | Plate exchanger
12 |  | Gaz detector isolating valves | [17 empty] | Tube
13 |  | Filling valve
14 |  | Pressure relief valve | [16 empty] | None | SS316L
15 |  | Sealing of tank cover EEx"o" | [16 empty] | plain | Titanium
16 |  | Tank isolated from earth | [16 empty] | Plain, removable and adjustable
17 |  | HEAT EXCHANGERS | [16 empty] | flanged
18 |  | Construction type | [16 empty] | flanged - Removable
19 |  | Material
20
21 |  | ACCESSORIES
22 |  | Earthing terminals |  | YES | Quantity: | 2
23 |  | Key locking of tap changer and plug-in terminals
24 |  | Rating plate SS316L
25 |  | Lifting eye bolts
26 |  | Lifting Jack pads
27 |  | Travelling wheels
28 |  | Provision for Fan mounting
29 |  | Other
30
31
32
33
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on AI12: Coating specification to be provided
Note on AI13: Coating specification to be provided
Note on AI14: Coating specification to be provided
Note on AD30: 2 earthing terminals on the main frame for connection to general earth grid.
Note on E37: Additional /optional accessories

## Measurements protection&test
Exploration & Production |  |  | COMPANY
|  |  | PROJECT NAME | [14 empty] | On Load | NA
|  |  | DATA SHEET | [14 empty] | Off load manual | YES
|  |  | POWER TRANSFORMER | [15 empty] | YES, With rubberbag
[11 empty] | DSEPELE141-rev5 | [6 empty] | Primary | NO
Project Doc. number: | [5 empty] | Contractor Doc N°: | [7 empty] | Page | 4 | / | 6 | Secondary
Valid for : | [8 empty] | Revision |  |  |  | Date | [5 empty] | palin travelling wheels
Supplier | [6 empty] | Manufacturer: |  |  |  |  | Ref: | [5 empty] | +/- 2,5% ; +/- 5% | Removable and adjustable plain wheels
1 | rev | Item |  | Required |  |  |  | Proposal |  | Comment | [8 empty] | flanged wheels
2 |  | MEASUREMENTS AND PROTECTION | [16 empty] | Removable flanged travelling wheels
3 |  | Dial thermometer |  |  | Quantity: | [12 empty] | Corrugated tank without radiators
4 |  | Pressure gauge |  |  | Quantity: | [12 empty] | Corrugated tank with radiators | As per IEC 60076
5 |  | Buccholz 2 thresholds | [15 empty] | Smooth tank with radiators
6 |  | Thermostat 2 thresholds - with contacts NO/NC
7 |  | Pressure switch 2 thresholds - with contacts NO/NC | [16 empty] | Yes, on one transformer
8 |  | Multifunction relay | [15 empty] | N.A | Yes, on all transformers
9 |  | Temperature probes RTD's |  |  | Quantity: | [12 empty] | Hot dip galvanised | No
10 |  | Spare thermowell |  |  | Quantity: | [12 empty] | Zinc-silicate coating
11 |  | OLTC relay | [15 empty] | 316L Stainless steel + paint
12 |  | Core balance CT
13 |  | Supply of Intrisic Safety barriers | [15 empty] | N.A
14 | [17 empty] | YES
15 | [17 empty] | NO
16 |  | TESTS
17 |  | FAT | [15 empty] | N.A
18 |  | SAT | [15 empty] | Included
19 |  | Routine tests |  | As per IEC 60076 | [13 empty] | Not Included
20 |  | Temperature Riste test
21 |  | Pressure/vacuum test certificate of the tank
22 |  | Noise level measurement
23 |  | Other tests
24
25
26
27
28
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on T16: Realy multifunction for hermetically sealed tanks: Gas release Overpressure Temperature two thresholds
Note on AI16: reference to be provided
Note on AI19: reference to be provided
Note on T21: For hazardous area application
Note on AI25: Test list to be submitted
Note on AI26: recommended commissioning test list to be submitted
Note on E31: e.g: partial discharge, impulse voltage, dielectric analysis..)

## Power Connection
Exploration & Production |  |  | COMPANY
PROJECT NAME
DATA SHEET
|  |  | POWER TRANSFORMER | [16 empty] | Three core cable
[11 empty] | DSEPELE141-rev5 | [8 empty] | Single core cable
Project Doc. number: | [5 empty] | Contractor Doc N°: | [9 empty] | Page | 5 | / | 6 | Bus duct
Valid for : | [8 empty] | Revision |  |  |  | Date | [6 empty] | On Load
Supplier | [6 empty] | Manufacturer: |  |  |  |  | Ref: | [7 empty] | Off load manual
1 | rev | Item |  | Required |  |  |  | Item |  | Required |  |  |  | proposal
2 |  | TRANSFORMER POWER CONNECTION PRIMARY SIDE | [17 empty] | Cu
3 |  | Connection | [5 empty] | Type of cable | [11 empty] | Al
4 |  | Phase core cross section |  |  | mm² | Cu |  | core cross section (Neutral) | [6 empty] | mm² |  |  | Cu
5 |  | Diameter on insulation (Phase) |  |  | mm |  |  | Diameter on insulation (Neutral) | [6 empty] | mm |  |  |  |  | Porcelain bushing
6 |  | Diameter on armour |  |  | mm |  |  | Diameter on armour (Neutral) | [6 empty] | mm |  |  |  |  | For Plug-in Connector
7 |  | Outer Diameter (Phase) |  |  | mm |  |  | Outer Diameter (Neutral) | [6 empty] | mm |  |  |  |  | Throughway bushing inside IP55 box
8 |  | Bushings | [5 empty] | IP 55 box with cable glands
9 |  | Plug in terminal type | [5 empty] | Mobile part supplied
10 | [19 empty] | NA
11 | [19 empty] | YES
12 | [19 empty] | NO
13 |  | TRANSFORMER POWER CONNECTION SECONDARY SIDE
14 |  | Connection | [5 empty] | Type of cable | [11 empty] | NA
15 |  | Phase core cross section |  |  | mm² | Cu |  | core cross section (Neutral) | [6 empty] | mm² |  |  | Cu |  | Elbow
16 |  | Diameter on insulation (Phase) |  |  | mm |  |  | Diameter on insulation (Neutral) | [6 empty] | mm |  |  |  |  | Straight
17 |  | Diameter on armour |  |  | mm |  |  | Diameter on armour (Neutral) | [6 empty] | mm
18 |  | Outer Diameter (Phase) |  |  | mm |  |  | Outer Diameter (Neutral) | [6 empty] | mm |  |  |  |  | Included
19 |  | Bushings | [5 empty] | IP 55 box with cable glands | [11 empty] | Not included
20 |  | Plug in terminal type | [5 empty] | Mobile part supplied
21
22
23
24
25
26
27
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on T16: Plug in terminals of maximum 12kV for installation in hazardous area
Note on AI16: IP55 box mandatory in hazardous area for porcelain bushings
Note on T27: Plug in terminals of maximum 12kV for installation in hazardous area
Note on AI27: IP55 box mandatory in hazardous area for porcelain bushings

## Manufacturer data
Exploration & Production |  |  | COMPANY
|  |  | PROJECT NAME | [17 empty] | NA
|  |  | DATA SHEET | [17 empty] | EEx"e"
|  |  | POWER TRANSFORMER | [17 empty] | EEx"d"
[13 empty] | DSEPELE141-rev5 | [7 empty] | EEx"nA"
Project Doc. number: |  |  |  | Contractor Doc N°: | [11 empty] | Page | 6 |  | / | 6 | EEx"de"
Valid for : | [10 empty] | Revision |  |  |  | Date | [5 empty] | EEx"ib"
Supplier |  |  |  |  | Manufacturer: | [8 empty] | Ref: | [6 empty] | EEx"pz"
1 | rev | TRANSFORMER DATA (TO BE COMPLETED BY MANUFACTURER)
2 |  | Joules losses at rated current |  |  |  |  | kW | [13 empty] | NA
3 |  | No load losses |  |  |  |  | kW | [13 empty] | Soft water
4 |  | Magnetic circuit |  |  |  | Induction level (Tesla) | [14 empty] | sea water
5 |  | Efficiency at PF=08 at load: |  |  |  | 4/4 |  | %
6 | [5 empty] | 3/4 |  | % | [12 empty] | Yes
7 | [5 empty] | 2/4 |  | % | [12 empty] | No
8 | [5 empty] | 1/4 |  | %
9 |  | Voltage drop at: PF=0,8 at load: |  |  |  | 4/4 |  | %
10 | [5 empty] | 3/4 |  | %
11 | [5 empty] | 2/4 |  | %
12 | [5 empty] | 1/4 |  | %
13 |  | Inrush current | [7 empty] | Amperes
14 |  | Guaranteed temperature rise at 100% load |  |  |  | Windings | [5 empty] | K
15 | [5 empty] | Dielectric | [5 empty] | K
16 |  | Mode of protection and Igress protection index of auxiliary devices |  |  |  | Thermostats | [8 empty] | IP
17 | [5 empty] | Pressure switches | [8 empty] | IP
18 | [5 empty] | Buccholz | [8 empty] | IP
19 | [5 empty] | Multifunction relays | [8 empty] | IP
20 | [5 empty] | Auxiliary junction boxes | [8 empty] | IP
21 | [5 empty] | Cooling Fans | [8 empty] | IP
22 | [5 empty] | Auxiliary panels | [8 empty] | IP
23 |  | Transformer with Forced air cooling (xxAF) |  |  |  | Number of fans
24 | [5 empty] | Fan motor rating | [12 empty] | kW
25 | [5 empty] | Maximum power in xxAF mode | [12 empty] | kVA
26 | [5 empty] | Maximum power in xxAN mode | [12 empty] | kVA
27 |  | Transformer with forced circulation of cooling water |  |  |  | Cooling water flowrate | [11 empty] | m3/h
28 | [5 empty] | Max Water inlet temp | [12 empty] | °C
29 | [5 empty] | Max water outlet temp at 4/4 | [12 empty] | °C
30 | [5 empty] | Max water outlet temp at 2/4 | [12 empty] | °C
31 |  | Transformer with forced circulation of dielectric |  |  |  | Number of dielectric circ. pumps
32 | [5 empty] | Circulation pumps motor rating | [12 empty] | kW
33 |  | Weights |  |  |  | Total | [11 empty] | kg
34 | [5 empty] | Dielectric | [11 empty] | kg
35 | [5 empty] | Untanking | [11 empty] | kg
36 | [5 empty] | Radiators or exchangers | [11 empty] | kg
37 |  | Overall dimension |  |  |  | Length |  |  | mm
38 | [5 empty] | Width |  |  | mm
39 | [5 empty] | Height |  |  | mm
40 |  | Painting |  |  |  | Conform to project specification:
41 | [5 empty] | Manufacturer specifications:
42 | [5 empty] | Rusting degree after 5 years Ri :
43 |  | CE Marking / additional marking
44 | [5 empty] | Certificate N°
45 |  | List of Deviations to Project specifications / Additionnal information.
46
47
48
Note on K1: Name of Field's Owner.
Note on K2: Project name, including phase number if any.
Note on BA49: painting systems to be submitted with bid for approval.
Note on E51: Certificate issued by Notified body