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ANNEX B - INSTRUMENT and process data sheets (normative)

List of available instrument datasheets and corresponding process datasheets:

	Instrument Data Sheet
	Corresponding Process Data Sheet

	
	

	F01
Turbine and positive displacement flowmeter
	PR 4

	F02
Ultrasonic flowmeter
	PR 4

	F03
Magnetic flowmeter
	PR 4

	F04
Variable area flowmeter
	PR 4

	F05
Mass flowmeter
	PR 4

	F06
Averaging pitot tube
	PR 4

	F07
Orifice plates and flanges
	PR 7

	F08
Venturi flow element
	PR 4

	F09
Vortex flowmeter
	PR 4

	P01
Pressure/diff. pressure instrument electric
	PR 5

	P02
Pressure/diff. pressure indicator
	PR 5

	T01
Thermowell
	PR 4

	T02
Temperature instrument electric
	PR 5

	T03
Temperature indicator
	PR 5

	L01
Level instrument magnetic
	PR 6

	L02
Level instrument ultrasonic/microwave
	PR 6

	L03
Level instrument displace/float
	PR 6

	L04
Level instrument capacitive/conductive
	PR 6

	L05
Level glass/gauge
	PR 6

	L06
Level switch vibrating fork
	PR 6

	L07
Level instrument nucleonic
	PR 6

	V01
Block (on-off) valve
	PR 1

	V02
Control valve
	PR 2

	V03
Safety/relief valve
	PR 3

	V04
Solenoid/pneumatic/hydraulic pilot valve
	

	V05
Rupture/bursting disc
	PR 3

	S01
Fire and gas detector
	

	X01
Miscellaneous instruments
	

	

	Process Data Sheet

	

	PR1
Block (on-off) valve

	PR2
Control valve

	PR3
Safety/relief valve

	
PR4
Inline/flow instrument

	PR5
Pressure & temperature transmitter/indicator/switch

	PR6
Level instrument

	PR7
Restriction orifice plate/PR4 Inline/flow instrument
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