[bookmark: _GoBack]Visual Inspection Checklist for Piping Systems

Note: Piping s ystems also include injection points, pumps, compress ors, valves, filters, tubing and tube fittings , connected mechanical equipment, instrumentation, and pipe support systems
1. IDENTIFICATION
Circuit Unique ID Number:	Piping Line Number/Name:	Date:
Piping System Name:	Bldg:
Date of Inspection:	Work Order Number:		Pipe Specification #: Inspector:		Employee Number:		Phone: Comments:
2. FIELD IDENTIFICATION	 Yes	No	Location / Comment
Is piping labeled/tagged w/Equipment ID#? Is pipeline adequately identified?
 Are labels/tags readable?
Do labels/tags need replacing?
3. LEAKS	 Yes	No	Location / Comment
 Any leaks from the process?
 Any leaks from steam tracing?
 Are any valves leaking?
 Any leaks at leak repair clamps?
 Any evidence of past leaks?
4. PIPE SUPPORT	 Yes	No	Location / Comment
 Any shoes off their supports?
 Any hangers missing or damaged?
 Any spring hangers bottomed-out?
 Any problems with support braces?
*Any corrosion of supports?
 Any loose or broken brackets?
5. VIBRATION	 Yes	No	Location / Comment
 Any significant vibration observed?
 Any evidence of excessive movement?
 Any pipe distortion observed?
6. INSULATION **	 Yes	No	Location / Comment
 Any physical damage or penetration?
 Any deterioration/damage of weather seals?
 Any bulging or wet insulation?
 Any discoloration indicating leakage?
 Any retaining bands missing/broken?
 Any missing jackets, plugs, or insulation?
7. CORROSION *	Severe  Mild	No	Location / Comment
 Any corrosion at support points or fixtures?
 Any coating or paint  deterioration?
 Any areas with scale, pits, or rust?
 Any corrosion between flanges?
 Any significant corrosion of f lange bolts?
Continued on next page






Revised	Page 1 of 2

DOCUMENT NO: STD-QD-011D

[image: ]
 (
Circuit Unique ID Number: 
8. INSPECTOR
Were any Deficiencies Identified? 
Piping Line Number/Name: 
Date:
No 
Yes, see Comments
Is Owner follow-up required to address issues that are concerns, but not
 
deficiencies: 
No 
Yes, see Comments
Deficiencies and Issues of Concern have been Communicated to Equipment Owner or Delegate 
(e.g., Maintenance Coordinator)
N/A
Yes,
 
Person
 
Notified:
No, Explain in
 
Comments
Deficiency
Categories:
Leaks 
Pipe Supports 
Vibration 
Corrosion 
Insulation 
Other:
Qualified Person
 
/
 
Inspector:
Employee
 
Number:
Date:
Owner
 
(Signature
 
required
 
only
 
if
 
Deficiencies
 
or
 
Issues
 
of
 
Concern
 
are
 
identified)
:
Employee
 
Number:
Date:
Comments:
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Note: Send completed form to the Maintenance Representative who updates GEMTS/Maintenance records and then sends the form to the Mechanical Integrity Equipment File Administrator.  This form shall be permanently filed in the Mechanical Integrity Equipment File.

* For assistance in determining degree of severity call NDE // ** For assistance in determining the extent of damage call Technical Resources
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